QUESTIONNAIRE FOR A REFRIGERATION UNIT

| Contact information | Date of filling out the questionnaire «____» ___________20___г |
| --- | --- |
| Project: |  |
| Contact person: |  |
| Address of the enterprise/organization: |  |
| Telephone: |  |
| E-mail: |  |

| № | Description | Meaning |
| --- | --- | --- |
| 1 | Installation name |  |
| 2 | Purpose |  |
| 3 | Weight of each technological block, no more than, kg* |  |
| 4 | Maximum plant capacity, nm3/hour |  |
| 5 | Temperature at the inlet to the unit, °C |  |
| 6 | Temperature at the outlet of the unit °C |  |
| 7 | Voltage, V |  |
| 8 | Power consumption of the PHU, kW |  |
| 9 | Refrigerant * |  |

Installation completeness

| 10 | Compressor |  |  |
| --- | --- | --- | --- |
| 10.1 | Compressor type * |  |  |
| 10.2 | Number of compressors, pcs* |  |  |
| 10.3 | Seal type* |  |  |
| 10.4 | Rotation speed, rpm* |  |  |
| 10.5 | The need to adjust compressor performance |  |  |
| 10.6 | Adjustment range, % |  |  |
| 10.7 | Performance control type* |  |  |
| 10.8 | Working pressure at the compressor inlet, MPa excess* |  |  |
| 10.9 | Working pressure no more than, MPa excess.* |  |  |
| 10.10 | Cooling capacity, kW* |  |  |
| 10.11 | Power consumption, kW* |  |  |
| 10.12 | Compressor power supply, V/ph/Hz |  |  |
| 10.13 | Degree of protection |  |  |
| 10.14 | Explosion protection rating |  |  |
| 11 | Shell and tube/plate evaporator |  |  |
| 11.1 | Evaporator type* |  |  |
| 11.2 | Wednesday * |  |  |
| 11.3 | Load power* |  |  |
| 11.4 | Thermal surface reserve |  |  |
| 11.5 | Material of pipes/plates |  |  |
| 11.6 | Housing material |  |  |
| 11.7 | Design pressure, MPa* |  |  |
| 12 | Air condenser (cooler) |  |  |
| 12.1 | Capacitor type* |  |  |
| 12.2 | Number of fans, pcs* |  |  |
| 12.3 | Load power, kW |  |  |
| 12.4 | Hot gas temperature, ºС |  |  |
| 12.5 | Condensation temperature, ºС |  |  |
| 12.6 | Air temperature, ºС |  |  |
| 12.7 | Condensate outlet temperature, ºС |  |  |
| 12.8 | Air flow rate, m3/hour* |  |  |
| 12.9 | Fan power supply, V/ph/Hz |  |  |
| 12.10 | Power consumption of mechanical/electric fans, kW* |  |  |
| 12.11 | Total power consumption, kW* |  |  |
| 12.12 | Gas capacity, m3/hour |  |  |
| 12.13 | Design pressure, MPa* |  |  |
| 12.14 | Weight, kg* |  |  |
| 12.15 | Dimensions (length, width, height), mm * |  |  |
| 13 | Air cooler (automatic non-condensable gas separator) |  |  |
| 13.1 | Non-autonomous air cooler* |  |  |
| 13.2 | Maximum working pressure, MPa excess |  |  |
| 13.3 | Minimum boiling (evaporation) temperature, ºС |  |  |
| 13.4 | Design pressure, MPa* |  |  |
| 14 | Oil collection vessel* |  |  |
| 14.1 | Design pressure, MPa* |  |  |
| 14.2 | Volume, m3* |  |  |
| 14.3 | Diameter, m* |  |  |

*- To be filled in if data is available or if there are special requirements.

Climate performance and placement category

Type of climate control:

– for equipment located in an open area;

– for indoor/block-box equipment.

Requirements for equipment placement and material execution:

Work Environment Settings

| № | Description | Meaning |
| --- | --- | --- |
| 1 | Environment name |  |
| 2 | Estimated gas volume, nm3/h |  |
| 3 | Absolute humidity of gas, g/m3 |  |
| 4 | Name and mass fraction of solid particles, %, particle size, mm, at the inlet |  |
| 5 | Density of the medium, kg/m3 |  |
| 6 | Pressure, MPa |  |
| 7 | Gas composition |  |
| 8 | Component |  |

Compressor motor requirement*

| № | Description | Meaning |
| --- | --- | --- |
| 1 | Supply voltage |  |
| 2 | Engine power |  |
| 3 | Network frequency |  |
| 4 | Operating mode |  |
| 5 | Degree of protection |  |
| 6 | Insulation heat resistance class |  |
| 7 | Cooling system (air/forced/independent) |  |
| 8 | Availability of terminal box |  |
| 9 | Number of cable entries, pcs. |  |
| 10 | Bearing type |  |
| 11 | Availability of eye bolts |  |
| 12 | Number of consecutive cold/hot starts |  |
| 13 | Rotor bearing temperature monitoring |  |
| 14 | Stator winding temperature monitoring |  |
| 15 | Availability of vibration sensors |  |
| 16 | Presence of grounding clamps and grounding signs |  |
| 17 | Spare parts kit |  |
| 18 | Other |  |

Documentation requirements:

Please send the completed questionnaire to the email address office@zavkomepc.com.

Thank you for your interest in our company.

We look forward to a mutually beneficial partnership!