DATA SHEET FOR CALCULATION OF WASTEWATER TREATMENT SYSTEM

| Contact information |  |
| --- | --- |
| Name of company/organization: |  |
| Contact person: | (Full name, position) |
| Company/organization address: | (Country, city, street, building) |
| Phone, E-mail: |  |
| Project task: (highlight as necessary) | Construction of a new production line, reconstruction of an old production |

| Technical specifications |  |  |  |  |
| --- | --- | --- | --- | --- |
| Objective formulation and description: |  |  |  |  |
| Name of the medium sent for purification: |  |  |  |  |
| Type of documentation required: |  |  |  |  |
| Brief characteristics of the object: |  |  |  |  |
| Main technical and economic indicators of the facility: |  |  |  |  |
| Estimated qualitative and quantitative indicators of the input flow | Unit of measurement | Value |  |  |
|  |  | maximum | average | minimum |
| Input flow rate | m3/h |  |  |  |
| Input pressure | Bar (abs.) |  |  |  |
| Input temperature | ᵒС |  |  |  |
| pH | units |  |  |  |
| Suspended solids (TSS) | mg/dm3 |  |  |  |
| Total hardness (H₀) | mEq/dm3 |  |  |  |
| Total alkalinity | mEq/dm3 |  |  |  |
| COD | mg/dm3 |  |  |  |
| Salt Content (TDS) | mg/l |  |  |  |
| Ionic composition: |  |  |  |  |
| Input stream storage capacity (if any) |  |  |  |  |
| Storage tank volume | m3 |  |  |  |
| Discharge of purified water (highlight as necessary) |  |  |  |  |
| Discharge conditions | In the city sewerage network, into the ground (drainage), onto the terrain, into a reservoir (reservoir classification), circulating water supply systems |  |  |  |
| Evaporation Plant Outlet Flow Requirements |  |  |  |  |
| Availability of regulatory documentation requirements that must be met (GOST, TR, etc.) |  |  |  |  |
| The need to complete the installation with a suspension storage tank or a storage hopper |  |  |  |  |
| Requirements for the quality of liquid waste from the installation (if necessary) |  |  |  |  |
| pH | units |  |  |  |
| Total hardness | mEq/dm3 |  |  |  |
| Alkalinity | mEq/dm3 |  |  |  |
| Sulfates | mg/dm3 |  |  |  |
| Chlorides | mg/dm3 |  |  |  |
| Salinity | mg/dm3 |  |  |  |
| Suspended solids | mg/dm3 |  |  |  |
| Temperature | ᵒС |  |  |  |
| Outlet flow rate | m3/h |  |  |  |
| Outlet pressure of the flow from the unit | Bar (abs.) |  |  |  |
| Other standard parameters |  |  |  |  |
| Process organization requirements |  |  |  |  |
| Principle of organizing technological processes (select as necessary) | Continuous, periodic |  |  |  |
| Number of working days of the installation | days/year | days/year |  |  |
| Number of working hours of the installation | hours/year | hours/year |  |  |
| Placement of the installation (select as necessary) | Outdoor, in building, combined, underground |  |  |  |
| Wastewater inflow mode | Pressure, non-pressure |  |  |  |
| Supply manifold: |  |  |  |  |
| -depth | m |  |  |  |
| -diameter | mm |  |  |  |
| -material |  |  |  |  |
| Placement area |  |  |  |  |
| Country, region, city, address |  |  |  |  |
| Seismicity | point |  |  |  |
| Presence of hazardous industrial facilities at a distance of 1 km from the planned development zone |  |  |  |  |
| Site characteristics (overall dimensions LxWxH, railway tracks, etc.) |  |  |  |  |
| Characteristics of the environment at the installation site |  |  |  |  |
| for outdoor placement: | ᵒС |  |  |  |
| - Minimum temperature | ᵒС |  |  |  |
| - Maximum temperature | g/m3 |  |  |  |
| Available utilities |  |  |  |  |
| Electricity | kW |  |  |  |
| Compressed air | flow, m3/h |  |  |  |
|  | Pressure, kgf/cm2 |  |  |  |
| Chilled water | Temperature, oC |  |  |  |
|  | Flow, m3/h |  |  |  |
| Recycled water | Temperature, oC |  |  |  |
|  | Flow, m3/h |  |  |  |
| Nitrogen | Flow, m3/h |  |  |  |
|  | Pressure, kgf/cm2 |  |  |  |
| Water vapor | Flow, kg/h |  |  |  |
|  | Pressure, kgf/cm2 |  |  |  |
|  | Temperature, oC |  |  |  |
| Other energy carriers (if any) | Flow, kg/h |  |  |  |
|  | Pressure, kgf/cm2 |  |  |  |
|  | Temperature, oC |  |  |  |
| Compressed air Instrumentation | Dew point, oC |  |  |  |
|  | Temperature, oC |  |  |  |
|  | Pressure, kgf/cm2 |  |  |  |
| Additional information |  |  |  |  |
| Requirements for a spare parts kit |  |  |  |  |
| Requirements for an automated process control system |  |  |  |  |
| Need to integrate an automated process control system into an existing plant system |  |  |  |  |
| Requirements for the terms of standard and warranty operation of the unit |  |  |  |  |
| Requirements for the minimum equipment run between repairs |  |  |  |  |
| Notes |  |  |  |  |

Please send the completed Data Sheet to the email address office@zavkomepc.com.

Thank you for your interest in our company.

We hope for mutually beneficial cooperation!